ARCHITECTURE, CONSTRUCTION & MANUFACTURING TECHNOLOGIES DIVISION

INDUSTRIAL ELECTRICITY DEPARTMENT

COURSE SYLLABUS

COURSE NUMBER: ELPT 1311

COURSE TITLE: ELECTRICAL THEORY

CREDITS: 3 (2 lecture, 3 lab)

COURSE DESCRIPTION

Basic theory and practice of wiring basic circuits. Includes calculations as applied to alternating and direct current.

END-OF-COURSE-OUTCOMES

Explain atomic structure and basic values such as voltage, current, resistance, and power; determine electrical values for combination circuits in direct current (DC) and alternating current (AC) containing resistance, inductance, and capacitance; summarize the principles of magnetism; calculate voltage drop based on conductor length, type of material, and size; and utilize electrical measuring instruments.

COURSE OBJECTIVES

Upon completion of this course, the student will:

- Exhibit knowledge of safety rules and demonstrate awareness of electrical hazards.

- Explain the scientific concepts of force, work, energy, power and efficiency.

- Exhibit knowledge of electrical materials, their properties, and discuss the concepts of conductor, insulators and semiconductors, wire gauges and resistors.

- Explain the significance of fundamental electrical quantities: current, voltage, resistance and power, units of measurement and their use in formulas and equations.

- Demonstrate proficiency in the use of analog and digital multimeters to measure voltage, current, resistance and continuity.

- Exhibit knowledge of Ohm’s Law, formula usage and it’s applications to basic circuits.

- Describe the composition, properties and functions of series, parallel and combination circuits, and use appropriate formulas to determine voltage, current, resistance and power.

- Demonstrate proficiency in reading, formulation and solving electrical problems by applying formulas, writing simple equations and expressing answers in acceptable format and units.

- Identify and utilize appropriate National Electrical Code tables to determine wire ampacities, correction factors and resistance.

- Utilize circuit properties to troubleshoot, diagnose and repair faults encountered in circuits.

- Describe the concepts of alternating current, sinewave, cycle, period, frequency, peak and RMS values.

- Describe the basic principles and laws of electromagnetism.

- Explain the operation and application of introductors, capacitors, inductance, inductive reactance, capacitance, capacitive reactance, resonance and impedance.

- Exhibit knowledge of trigonometry and trigonometric functions as they apply to solve electrical problems.

- Explain the concepts of single-phase and three-phase power, motor & transformer.

PLEASE READ IMPORTANT INFORMATION ON PAGE 2

COURSE POLICIES

Attendance

Students are expected to attend classes regularly, and to be on time for every class period. Students can be dropped from a class due to excessive absences. Excessive tardiness may be considered absences. Students are responsible for subjects, assignments, and projects covered during their absences. Consult the Student Handbook for more details or visit http://www.hccs.edu/hccs/current-students/student-handbook

Academic Honesty

Scholastic dishonesty is treated with the utmost seriousness by the instructor and the College. Academic dishonesty includes, but it is not limited to the willful attempt to misrepresent one’s work, cheat, plagiarize, or impede other students’ scholastic progress.  Consult the Student Handbook for more details.

Students with Disabilities

Any student with a documented disability (e.g. physical, learning, psychiatric, vision, hearing, etc.) who needs to arrange reasonable accommodations must contact the Disability Support Services Office at his / her respective college at the beginning of each semester. Faculties are authorized to provide only the accommodations requested by the Disability Support Services Office.  For Central College, call 713 – 718 – 6164.

Cell Phones

All cell phones must be muted, set to vibrate, or turned off during class. Cell phone activity during class is deemed disruptive to the academic process and will not be tolerated. If you need to make or receive an emergency call, please leave the classroom.

Calculators

If the course allows the use of a calculator during class, lab projects, and exams, the student is responsible to bring his/her calculator. Cell phones are not calculators, and are not allowed to be used for that purpose during class, tests, or exams.

Student ID

Students are required to obtain a Student ID. For additional information, consult the Student Handbook.

Parking Rules and Regulations

Students are required to follow HCC’s regulations regarding parking and permits. For additional information, visit http://www.hccs.edu/hccs/about-hcc/police/parking/parking-rules-and-regulations

Books, Tools and Supplies

Students are required to purchase and bring to class the required textbooks, tools, notebooks, supplies, and writing instruments as required by the instructor.

Dress Code

Dress code must be appropriate for the class. Students must dress in a way that clothing and accessories do not compromise their safety, and the safety of others. Proper foot wear is required in all laboratories.  Absolutely no sandals or other footwear that exposes the feet will be allowed.

Classroom & Laboratory Conduct

Proper behavior is expected in all classes and laboratories. Foul language and horseplay are not allowed. Making or receiving cell phone calls during class are not allowed. Sleeping in class is not allowed.

Course Withdrawal

It is the responsibility of the student to officially withdraw from a course before the official withdrawal deadline. A student who does not withdraw from a course by the deadline will receive an “F” as the final grade. Also note that under Section 51.907 of the Texas Education Code, an institution of higher education may not allow a student to drop more than six courses.

HCC is committed to provide a learning and working environment that is free from discrimination on the basis of sex which includes all forms of sexual misconduct. Title IX of the Education Amendments of 1972 requires that when a complaint is filed, a prompt and thorough investigation is initiated. Complaints may be filed with the HCC Title IX Coordinator available at 713 718-8271 or email at oie@hccs.edu.

COURSE TIMELINE, CONTENTS & ACTIVITIES

WEEK # 1: COURSE RULES AND ORIENTATION

- Introduction

- Purpose of the course

- Overview of course syllabus

- Course policies

- Required materials, textbook(s), supplies, and resources (if applicable)

- Disability Support Services

- Registration, schedules, receipts, and student ID

- Importance of updating and maintaining student data (Name, Address, ID #, phone numbers, emails)

- Parking rules and regulations

- Classroom and laboratory safety

- Course withdrawal, Official Day of Record, and last day for withdrawal

- Course tests, quizzes, exams, and assignments

- Course grading policies

- Instructor information

- Campus orientation

WEEK # 2:

- Basic safety

- Basic atomic theory

- Basic concepts: force, work, energy, and power.

- Electrical materials

- Basic electrical qualities: voltage, current, resistance, and power.

Module 2: General PV and Installation

- Read Module 2 Facilitator Guide

- Read appropriate sections of Solar Electric Handbook: Photovoltaic Fundamentals and Applications. Boston: Pearson, 2013

- Adapt schedule presented in Module 2 Facilitator Guide to HCC Central Schedule: 2 – 8 hour days and 16 hours of class time will be the converted to the first 6 – 3 hour classes or 3 weeks. Ideas presented here:

Class 1: Facility Overview and Class Introduction –

| Class | Topics | Time |
| --- | --- | --- |
|  | Unit 5: Grid-Direct System Sizing To prepare: Read in Textbook: Go through slides: 1 - 42 |  |
| Week 11 Class 2 | Sign in, Questions, and Day overview | 10 minutes |
|  | Grid Direct Inverters: Slides 1 - 32 | 60 minutes |
|  | Grid Direct System Sizing: Slides 33 – 42 | 20 minutes |
|  | Break | 10 minutes |
|  | Unit 6: Grounding, Wiring, and Overcurrent Protection To Prepare: Read in textbook: Go through slides: 43 - |  |
|  | NEC Requirements: Slides 43 - 56 | 20 min |
|  | PV Electrical Design - Voltage Calculations: Slides 57- 76 | 50 minutes |
|  | Wrap up and Assignments for next class | 10 minutes |
|  | Total time | 180 minutes |
| Week 12 Class 1 | Sign in, Questions, and Day overview | 10 minutes |
|  | PV Electric System Design Continued: Current Calculations: Slides 77 – 92 Overcurrent Calculations: Slides 93 – 95 Wire Sizing: Slides 96 - 112 | 70 minutes |
|  | Break | 10 minute |
|  | PV Electric System Design continued: Slides 113- 146 Ground fault Disconnects Conduit requirements Grounding Interconnection Labeling | 80 minutes |
|  | Wrap up and Assignments for next class | 10 minutes |
|  | Total Time | 180 minutes |
| Week 12 Class 2 | Sign in, Questions, and Day overview | 10 minutes |
|  | Lab Activity 2: Photovoltaic Direct DC System Go to back of Module 2 Facilitator Guide pg | 90 minutes |
|  | Break | 10 minutes |
|  | Unit 7: Safely Installing and Commissioning Grid-Direct Systems To be prepared: Go through slides: Read in textbook pages: |  |
|  | PV Installation Safety: Slides 148 - 188 Fall Protection Stairways and Ladders | 60 minutes |
|  | Wrap up, questions, and assignments for next class | 10 minutes |
|  | Total time | 180 minutes |
| Week 13 Class 1 | Sign in, questions, and day overview | 10 minutes |
|  | PV Installation Safety continued: Slides 189 – 230 Scaffolds Scaffolds and fall hazards Excavations Tools | 80 minutes |
|  | Break | 10 minutes |
|  | PV Installation Safety continued: Slides 231 – 262 Electrical Safety Personal Protection Equipment | 60 minutes |
|  | Commissioning: Slides 263 - 269 | 10 minutes |
|  | Wrap up and assignment for next class | 10 minutes |
|  | Total time | 180 minutes |
| Week 13 Class 2 | Sign in, questions, and class overview | 10 minutes |
|  | Maintenance: Slides 270 - 289 | 40 minutes |
|  | Troubleshooting: Slides 290 – 300 | 20 minutes |
|  | Break | 10 minutes |
|  | Unit 8: Battery Based Systems To be prepared: In Textbook: Read Go through slides: |  |
|  | Quick review: Energy Storage and Batteries: Slides 301- 356 Charge Controllers: Slides 356 – 380 Inverters: Slides 381 – 396 Some slides will be repeats – move through quickly or hide for presentation | 40 minutes |
|  | Battery Safety: 397 – 423 | 50 minutes |
|  | Wrap up and assignment for next class | 10 minutes |
|  | Total Time | 180 minutes |
| Week 14 Class 1 | Sign in, questions, and class overview | 10 minutes |
|  | Stand Alone System Sizing: Slides 424 - 452 | 60 minutes |
|  | Break | 10 minutes |
|  | Lab Activity 7: Load Analysis - Found in Facilitators Guide page | 90 minutes |
|  | Wrap up and assignments for next class | 10 minutes |
|  | Total Time | 180 minutes |
| Week 14 Class 2 | Sign in, questions, and class overview | 10 minutes |
|  | Lab Activity 8: Module Installation Facilitators Guide page: | 90 minutes |
|  | Break | 10 minutes |
|  | System Installation module Lab continued | 50 minutes |
|  | Lab review and class wrap up | 20 minutes |
|  | Total Class Time | 180 |
| Week 15 Class 1 | Sign in and class overview | 10 minutes |
|  | Lab Activity 9: Inverter Installation and Wiring | 90 minutes |
|  | Break | 10 minutes |
|  | Lab Activity 9: Inverter Installation and Wiring | 30 minutes |
|  | Lab Review and Discussion | 20 minutes |
|  | Class wrap up | 10 minutes |
|  | Total Time | 180 minutes |
|  | Module 3: NABCEP Entry Level Test Prep |  |
| Week 15 Class 2 | Sign In, questions, and class overview | 10 minutes |
|  | Exam Overview and Learning Objectives: Slides 1 - 21 | 30 minutes |
|  | Break | 10 minutes |
|  | Sample Questions – go through together in class: Slides 22 - 71 | 120 minutes |
|  | Wrap up and Assignment for next week | 10 minutes |
|  | Total Time | 180 minutes |
| Week 16 Class 1 | Sign in, questions, and class overview | 10 minutes |
|  | Class Exam – 60 questions (2 minutes each – 2 hours) | 120 minutes |
|  | Break | 10 minutes |
|  | Score exam | 50 minutes |
| Week 16 Class 2 | Review of exam Class wrap up |  |